Ref No:

< Sri Krishna Institute of Technology, Bangalore>

COURSE PLAN

Academic Year 2019

Program:	B E – Electrical and Electronics Engineering
Semester :	3
Course Code:	18EE33
CourseTitle:	TRANSFORMER AND GENERATOR
Credit / L-T-P:	4/ 4-0-0
Total Contact Hours:	50
Course Plan Author:	SHWETA B

Academic Evaluation and Monitoring Cell
< Sri Krishna Institute of Technology
#29, Hesaraghatta Main Road
Chimney Hills, Chikkabanavara Post>
<Bangalore– 560090,Katakana, India.>
<Phone / Fax :+91-STD-080 >
<Web: skit.org.in, e-mail: >

-

Note : Remove “Table of Content” before including in CP Book
        Each Course Plan shall be printed and made into a book with cover page
        Blooms Level in all sections match with A.2, only if you plan to teach / learn at higher levels

# 18EE33: TRANSFORMERS AND GENRERATORS
## A. COURSE INFORMATION
### 1. Course Overview
Degree:	BE	Program:	EE
Year / Semester :	3rd	Academic Year:	2019-20
Course Title:	Transformer and generator	Course Code:	18EE33
Credit / L-T-P:	4-0-0	SEE Duration:	180 Minutes
Total Contact Hours:	50	SEE Marks:	60 Marks
CIA Marks:	40	Assignment	0.5/ Module
Course Plan Author:	SHWETA B	Sign	Dt:
Checked By:		Sign	Dt:

### 2. Course Content
Module	Module Content	Teaching Hours	Module Concepts	Blooms Level
1	Operation of practical transformer under no - load and on - load with phasor diagrams. Equivalent circuit, Open circuit and Short circuit tests, calculation of equivalent circuit parameters and predetermination of efficiency- commercial and all-day. Voltage regulation and its significance. / Three-phase Transformers: Introduction, Constructional features of three-phase transformers. Choice between single unit three-phase transformer and a bank of three single-phase transformers. / Transformer connection for three phase operation – star/star, delta/delta, star/delta, zigzag/star and V/V, choice of connection. Phase conversion - Scott connection for three-phase to two-phase conversion. Labelling of three-phase transformer terminals, vector groups	10	Characteristics and operation Winding connection	L3, L5
2	Parallel Operation of Transformers: Necessity of Parallel operation, conditions for parallel operation – Single phase and three phase. Load sharing in case of similar and dissimilar transformers Autotransformer and Tap changing transformers: Introduction to auto transformer - copper economy, equivalent circuit, no load and on load tap changing transformers	10	Load sharing Copper saving in transformer	L3,L4
3	Tertiary winding Transformers: Necessity of tertiary winding, / equivalent circuit and voltage regulation, tertiary winding in star/star transformers, rating of tertiary winding.Direct current Generator: Armature reaction, Commutation and associated problems, Synchronous generators: Armature windings, winding factors, e.m.f equation. Harmonics – causes, reduction and elimination. Armature reaction, Synchronous reactance, Equivalent circuit	10	Working of Tertiary winding Characteristics of DC generator	L3,L4,L5
4	Synchronous generators (continuation): Generator load characteristic. Voltage regulation, / excitation control for constant terminal voltage. Generator input and output. Parallel operation of / generators and load sharing.Synchronous generator on infinite bus-bars – General load diagram, / Electrical load diagram and V – curves. Power angle characteristic and synchronizing power. Effects / of saliency, two-reaction theory, Direct and Quadrature reactance, power angle diagram, reluctance / power, slip test	10	Operation of AC generator Characteristics of AC generator	L3,L4,L5
5	Synchronous generators (continuation): Open circuit and short circuit characteristics, Assessment / of reactance- short circuit ratio, synchronous reactance, adjusted synchronous reactance and Potier / reactance. Voltage regulation by EMF, MMF, ZPF methods.Performance of synchronous generators: Capability curve for large turbo generators and salient pole generators. Starting, synchronizing and control. Hunting and dampers	10	Test on Synchronous generator Hunting in AC generators	L3,L4,L5

### 3. Course Material
Module	Details	Available
1	Text books
	I J nagaranth khothari	In Lib
	M G SaySynchronous generators
2	Reference books
	M V Deshpande	In dept
	K R siddhapura

3	Others (Web, Video, Simulation, Notes etc.)
		Not Available

### 4. Course Prerequisites
SNo	Course Code	Course Name	Module / Topic / Description	Sem	Remarks	Blooms Level
1	18EE33	Transformer and Generator	1.Working diagram of transformer	3
	-	-	2. Knowledge of AC and DC Generator	-	Plan Gap Course

Note: If prerequisites are not taught earlier, GAP in curriculum needs to be addressed. Include in Remarks and implement in B.5.

## B. OBE PARAMETERS
### 1. Course Outcomes
#	COs	Teach. Hours	Concept	Instr Method	Assessment Method	Blooms’ Level
18EE33.1	Ideal,On load, No load Characteristics,regulation of transformer all day efficiency	10	Characteristics and operation	Lecture	Slip Test	L2 / Understand
18EE33.2	Three phase transformer different winding connection star-Delta Delta-star Y-Y	05	Winding connection	Lecture	Assignment	L2 / Understanding
18EE33.3	Conditions for load sharing,Load sharing In similar and dissimilar transformer	06	Load sharing	Lecture	Assignment and Slip Test	L4 / Analysis
18EE33.4	Equivalent circuit of auto transformer,derivation of copper saving, efficiency and voltage regulationArticulation Matrix	06	Copper saving in transformer	Lecture /	Assignment	L3 / Apply
18EE33.5	Necessity of tertiary winding equivalent circuit and connection	07	Working of Tertiary winding	Lecture	Slip test	L5 / Evaluate
18EE33.6	Armature reaction of AC and DC and Commutation of generation numerical on generators	06	Characteristics of DC generator	Lecture	Assignment	L3 / Apply
18EE33.7	Harmonics of Synchronous generator Equivalent circuit	06	Operation of AC generator	Lecture	Assignment and Slip Test	L5 / Evaluate
18EE33.8	Load and No load characteristics Excitation for generator,load sharing	07	Characteristics of AC generator	Lecture	Assignment	L2 / Understanding
18EE33.9	Open circuit and short circuit test, V curves and inverted V curves , Voltage regulation	07	Test on Synchronous generator	Lecture	Assignment	L4 / Analyze
18EE33.10	Capability curve of generators, Hunting and different methods to minimize hunting	06	Hunting in AC generators	Lecture	Assignment	L3 / Apply
-	Total	66	-	-	-	-

Note: Identify a max of 2 Concepts per Module. Write 1 CO per concept.

### 2. Course Applications
SNo	Application Area	CO	Level
1	Used in Industries	CO1	L2
2	Understanding Power generation	CO2	L2
3	Used in domestic purpose	CO3	L2
4	Use Backtracking technique for searching a set of solutions or for searching an optimal solution	CO4	L3
5	Apply characteristics of different rating of transformer	CO5	L2
6	Apply characteristics of different rating of generators	CO6	L2
7	Evaluate starting of generators	CO7	L3
8	Apply different methods to get efficiency of a machine	CO8	L2
9	Able to solve different faults in transformer and generators	CO9	L2
10	Able to solve numericals for different parameters	CO10	L4

Note: Write 1 or 2 applications per CO.

### 3. Articulation Matrix
(CO – PO MAPPING)
-	Course Outcomes	Program Outcomes
#	COs	PO1	PO2	PO3	PO4	PO5	PO6	PO7	PO8	PO9	PO10	PO11	PO12	Level
18EE33.1	Ideal,On load, No load Characteristics,regulation of transformer all day efficiency	X	X			X			X					L2
18EE33.2	Three phase transformer different winding connection star-Delta Delta-star Y-Y	X	X	X	X					L2
18EE33.3	Conditions for load sharing,Load sharing In similar and dissimilar transformer	X	X		X					L2
18EE33.4	Equivalent circuit of auto transformer,derivation of copper saving, efficiency and voltage regulation	X	X					L3
18EE33.5	Necessity of tertiary winding equivalent circuit and connection	X		X					L2
18EE33.6	Armature reaction of AC and DC and Commutation of generation numerical on generators	X	X		X					L2
18EE33.7	Harmonics of Synchronous generator Equivalent circuit		X	X	X					L3
18EE33.8	Load and No load characteristics Excitation for generator,load sharing	X	X		X					L2
18EE33.9	Open circuit and short circuit test, V curves and inverted V curves , Voltage regulation	X	X		X					L2
18EE33.10	Capability curve of generators, Hunting and different methods to minimize hunting		X		X					L2
Note: Mention the mapping strength as 1, 2, or 3

### 4. Mapping Justification
Mapping		Justification	Mapping Level
CO	PO	-	-
CO1	PO1	Basic knowledge of transformer	L2
CO1	PO2	Analysing the operation of transformer at different load conditions	L2
CO1	PO5	Applying the apropriate technicque to reduce the eddy current loss	L2
CO1	PO8	Operation of transformer without affecting the environmental condition	L2
CO2	PO1	Basic knowledge of 3ph transformer	L2
CO2	PO2	Analysing the operation of 3phase transformer at different load conditions	L2
CO2	PO3	Devolpment of different connection for 3phase transformer	L2
CO2	PO4	investigating different connection when phase failure occurs	L2
CO3	PO1	Basic knowledge of parallel of operation two transformer	L2
CO3	PO2	Analysing the parallel connection of transformer	L2
CO3	PO4	Conducting the parallel connection of transformer and finding the problems associated with load sharing	L2
CO4	PO1	Basic knowledge of auto transformer	L3
CO4	PO2	Analysing copper saving and voltage regulation, efficiency of transformer	L3
CO5	PO1	Basic knowledge of tertiary winding connection	L2
CO5	PO3	Devolpement of tertiary winding connections	L2
CO6	PO1	Basic knowledge of aramture reaction in ac and dc machines	L2
CO6	PO2	Analysing the problem associated with the armature reaction	L2
CO6	PO4	Finding the problems and finding the solution to reduce the armature reaction	L2
CO7	PO2	Identify the problems caused due to harmonics in synchronous generator	L3
CO7	PO3	Devolping the equivalent circuit diagram of synchronous generator	L3
CO7	PO4	Finding the soluion to reduce harmonics in synchronous generator	L3
CO8	PO1	Basic knowledge of Characteristics of AC generator	L2
CO8	PO2	Analysing the Characteristics of AC generator	L2
CO8	PO4	Finding the solution for complexity in load sharing of generators	L2
CO9	PO1	Basic knowledge on method of testing on Synchronous generator	L2
CO9	PO2	Analysing problems associated with the testing of generator	L2
CO9	PO4	Condjusting the test on synchronous generator and analysing the result	L2
CO10	PO2	Identifying and analysing the hunting in generators	L2
CO10	PO4	Finding the soluion to reduce hunting in generators	L2

Note: Write justification for each CO-PO mapping.

### 5. Curricular Gap and Content
SNo	Gap Topic	Actions Planned	Schedule Planned	Resources Person	PO Mapping
1
2
3
4
5

Note: Write Gap topics from A.4 and add others also.

### 6. Content Beyond Syllabus
SNo	Gap Topic	Actions Planned	Schedule Planned	Resources Person	PO Mapping
1
2
3
4
5
6
7
8
9
10

Note: Anything not covered above is included here.

## C. COURSE ASSESSMENT
### 1. Course Coverage
Module #	Title	Teaching Hours	No. of question in Exam					CO	Levels
			CIA-1	CIA-2	CIA-3	Asg	Extra Asg	SEE
1	Single phase and Three-phase Transformers	16	2	-	-	1	1	2	CO1, CO2	L1, L2
2	Parallel Operation of Transformers	13	2	-	-	1	1	2	CO3, CO4	L2, L3
3	Tertiary winding Transformers:	9	-	2	-	1	1	2	CO5, CO6	L3, L4
4	Synchronous generators	10	-	2	-	1	1	2	CO7, C08	L2, L3
5	Performance of Synchronous generators	14	-	-	4	1	1	2	CO9, CO10	L4, L5
-	Total	62	4	4	4	5	5	10	-	-

Note: Distinct assignment for each student. 1 Assignment per chapter per student. 1 seminar per test per student.

### 2. Continuous Internal Assessment (CIA)
Evaluation	Weightage in Marks	CO	Levels
CIA Exam – 1	30	CO1, CO2, CO3, CO4	L2, l3, l4, l2
CIA Exam – 2	30	CO5, CO6, CO7, C08	L1, L2, L3, L4
CIA Exam – 3	30	CO9, CO10	L3, L1

Assignment - 1	05	CO1, CO2, CO3, CO4	L2, L3, L4, L3
Assignment - 2	05	CO5, CO6, CO7, CO8	L1, L2, L3, L1
Assignment - 3	05	CO9, CO10	L3, L4

Seminar - 1	05	CO1, CO2, CO3, CO4	L2, L3, L4, L3
Seminar - 2	05	CO5, CO6,CO7,CO8	L1, L2, L3, L1
Seminar - 3	05	CO9, CO10	L3, L4

Other Activities – define – Slip test		CO1 to Co9	L2, L3, L4 . ..
Final CIA Marks	40	-	-

Note : Blooms Level in last column shall match with A.2 above.

## D1. TEACHING PLAN - 1
### Module - 1
Title:	Single and three phase transformer	Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Understand the working of transformer	CO1	L2
2	Understand the NO-load and ON-load	CO2	L3

b	Course Schedule	-	-
Class No	Module Content Covered	CO	Level
1	Operation of practical transformer under no - load and on - load with phasor diagrams.	C01	L2
2	calculation of equivalent circuit parameters and predetermination of efficiency- commercial and all-day
3	Voltage regulation and its significance.Three-phase Transformers
4	Introduction, Constructional features of three-phase transformers.
5	Choice between single unit three-phase transformer and a bank of three single-phase transformers.
6	Transformer connection for three phase operation – star/star, delta/delta, star/delta
7	Transformer connection for three phase operation – zigzag/star and V/V, choice of connection
8	Phase conversion - Scott connection for three-phase to two-phase conversion
9	Labelling of three-phase transformer terminals, vector groups
10	Equivalent circuit
11	Open circuit and Short circuit tests of transformers

c	Application Areas	CO	Level
1	Use to find characteristics of transformers	CO1	L3
2	Efficiency of transformer in industrial applications	CO2	L4

d	Review Questions	-	-
1	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?	CO1	L1
2	Explain with neat sketch the construction of three phase core type and shell type transformer.	CO1	L3
3	Derive an equation for a single phase transformer.	CO2	L2
4	Draw and explain vector diagram of transformer loaded with Inductive and capacitive load	CO2	L4
5	Explain open-delta connection with the help of neat diagram. Show that open-delta connection has a KVA rating of 58% of the rating of the normal delta-delta connection.	CO2	L2
6	Show the terminal connections of a three-phase transformer with phasor diagram and corresponding clock method representation 1)Dd0 2) Yy6 3) Dy1 4) Yd11	CO2	L5
7	A 50KVA, 4400/220V, transformer has R1=3.45Ω,R2=0.009Ω, The Values of reactance’s are X1=5.2Ω,X2=0.015Ω, calculate for the transformer (i) Equivalent resistance as referred to primary ii)Equivalent resistance as referred to secondary iii) Equivalent reactance as referred to both primary and secondary iv) Total copper loss, first using individual resistances of the windings and secondly, using equivalent resistances as referred to each side v) Equivalent impedance referred to both sides.	CO2	L2
8	A 25KVA single phase transformer has 250 turns on the primary and 40 turns on the secondary winding. The primary is connected to 1500V, 50Hz .Calculate i) Primary and secondary currents on full load ii) Secondary EMF iii) Maximum flux in the core	CO2	L3
9	Derive an equation for a single phase transformer .Draw and explain vector diagram of transformer loaded with Inductive and capacitive load.	CO2	L4
10	A 25KVA single phase transformer has 250 turns on the primary and 40 turns on the secondary winding. The primary is connected to 1500V, 50Hz .Calculate i) Primary and secondary currents on full load ii) Secondary EMF iii) Maximum flux in the core	CO1	L1

e	Experiences	-	-
1		CO1	L2
2
3
4		CO3	L3
5

### Module – 2
Title:	Parallel operation of transformer	Appr Time:	10 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Parallel operation of transformers	CO3	L4
2	Connection of 3 phase transformer	CO4	L3

b	Course Schedule	-	-
Class No	Module Content Covered	CO	Level
17	Parallel Operation of Transformers
18	Load sharing in case of similar and dissimilar transformers
19	Autotransformer
20	Tap changing transformers
21	equivalent circuit
22	no load and on load tap changing transformers
23	Necessity of Parallel operation
24	conditions for parallel operation
25	Single phase and three phase transformers

c	Application Areas	CO	Level
1	Used in distribution system	CO3	L3
2	Used in industrial application for sharing	CO4	L4

d	Review Questions	-	-
12	Write a brief note on parallel operation of two-single phase transformers with unequal voltage ratio. Derive the necessary relation.	CO3	L1
13	List the advantages and disadvantages of an autotransformer	CO4	L3
14	Two 250KVA transformers supplying a network are connected in parallel on both primary and secondary sides. Their voltage ratios are the same. The resistance drops are 1.5% & 0.9% and the reactance drops are 3.33% & 4% respectively. Calculate the KVA loading on each transformer and its power factor when the total load on the transformers is 500KVA & at 0.707 lagging p.f.	CO3	L2
15	What are the conditions to operate two transformers in parallel?	CO4	L4
16	Derive an expression for the copper savings in an autotransformer as compared with 2 winding transformer.	CO4	L2
17	A 400/100V, 10 KVA, 2 winding transformer is to be employed as an autotransformer to supply a 400volts circuit from 500volts source. When tested as 2 winding transformer at rated load of 0.85 p.f lagging, its efficiency is 97%. Determine its KVA rating and efficiency as an autotransformer	CO3	L5
18	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?	CO3	L2
19	Explain on load tap changing with neat diagram.	CO3	L3

e	Experiences	-	-
1		CO1	L2
2
3
4		CO3	L3
5

## E1. CIA EXAM – 1
### a. Model Question Paper - 1
Crs Code:		18EE33	Sem:	3	Marks:	30	Time:	75 minutes
Course:		Transformer and generators
-	-	Note: Answer any 3 questions, each carry equal marks.							Marks	CO	Level
1	a	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?							8	CO1	L1
	b	Explain on load tap changing with neat diagram.							6		L2
	c	Explain open-delta connection with the help of neat diagram. Show that open-delta connection has a KVA rating of 58% of the rating of the normal delta-delta connection.							8	CO2	L3

2	a	Write a brief note on parallel operation of two-single phase transformers with unequal voltage ratio. Derive the necessary relation.							6		L2
	b	List the advantages and disadvantages of an autotransformer							8		L4
	c	Two 250KVA transformers supplying a network are connected in parallel on both primary and secondary sides. Their voltage ratios are the same. The resistance drops are 1.5% & 0.9% and the reactance drops are 3.33% & 4% respectively. Calculate the KVA loading on each transformer and its power factor when the total load on the transformers is 500KVA & at 0.707 lagging p.f.							4		L3
	d	What are the conditions to operate two transformers in parallel?							4		L2

3	a	Derive an expression for the copper savings in an autotransformer as compared with 2 winding transformer.							8	CO3	L1
	b	A 400/100V, 10 KVA, 2 winding transformer is to be employed as an autotransformer to supply a 400volts circuit from 500volts source. When tested as 2 winding transformer at rated load of 0.85 p.f lagging, its efficiency is 97%. Determine its KVA rating and efficiency as an autotransformer							6	CO4	L2
	c	Explain with neat sketch the construction of three phase core type and shell type transformer.							8		L1

4	a	With connection diagrams and equivalent circuits , Explain the theory behind the O.C and S.C tests conducted to find the constants of a transformer.							8		L2
	b	A 50KVA, 4400/220V, transformer has R1=3.45Ω, R2=0.009Ω, The Values of reactance’s are X1=5.2Ω,X2=0.015Ω, calculate for the transformer (i) Equivalent resistance as referred to primary ii) Equivalent resistance as referred to secondary iii) Equivalent reactance as referred to both primary and secondary iv) Total copper loss, first using individual resistances of the windings and secondly, using equivalent resistances as referred to each side v) Equivalent impedance referred to both sides							6		L2
	c	Show the terminal connections of a three-phase transformer with phasor diagram and corresponding clock method representation 1)Dd0 2) Yy6 3) Dy1 4) Yd11							8		L1

### b. Assignment -1
Note: A distinct assignment to be assigned to each student.
Model Assignment Questions
Crs Code:		18EE33		Sem:	3	Marks:	5 / 10	Time:	90 – 120 minutes
Course:		Transformer and Generators
Note: Each student to answer 2-3 assignments. Each assignment carries equal mark.
SNo	USN		Assignment Description					Marks	CO	Level
1	1KT17EE002		Write a brief note on parallel operation of two-single phase transformers with unequal voltage ratio. Derive the necessary relation.					5	CO1	L2
2	1KT17EE004		List the advantages and disadvantages of an autotransformer					5	CO2	L3
3	1KT17EE005		Two 250KVA transformers supplying a network are connected in parallel on both primary and secondary sides. Their voltage ratios are the same. The resistance drops are 1.5% & 0.9% and the reactance drops are 3.33% & 4% respectively. Calculate the KVA loading on each transformer and its power factor when the total load on the transformers is 500KVA & at 0.707 lagging p.f.					CO2	L4
4	1KT17EE006		What are the conditions to operate two transformers in parallel?					5	CO1	L3
5	1KT17EE007		Derive an expression for the copper savings in an autotransformer as compared with 2 winding transformer.					CO1	L2
6	1KT17EE008		A 400/100V, 10 KVA, 2 winding transformer is to be employed as an autotransformer to supply a 400volts circuit from 500volts source. When tested as 2 winding transformer at rated load of 0.85 p.f lagging, its efficiency is 97%. Determine its KVA rating and efficiency as an autotransformer					CO2	L3
7	1KT17EE009		Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?					CO2	L4
8	1KT17EE0010		Explain on load tap changing with neat diagram.					CO1	L3
9	1KT17EE011		Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?					CO1	L2
10	1KT17EE012		Explain with neat sketch the construction of three phase core type and shell type transformer.					CO2	L3
11	1KT17EE013		Derive an equation for a single phase transformer.					CO2	L4
12	1KT18EE400		Draw and explain vector diagram of transformer loaded with Inductive and capacitive load					CO1	L3
13	1KT17EE401		Explain open-delta connection with the help of neat diagram. Show that open-delta connection has a KVA rating of 58% of the rating of the normal delta-delta connection.					CO1	L2
14	1KT17EE002		Show the terminal connections of a three-phase transformer with phasor diagram and corresponding clock method representation 1)Dd0 2) Yy6 3) Dy1 4) Yd11					CO2	L3
15	1KT17EE003		A 50KVA, 4400/220V, transformer has R1=3.45Ω,R2=0.009Ω, The Values of reactance’s are X1=5.2Ω,X2=0.015Ω, calculate for the transformer (i) Equivalent resistance as referred to primary ii)Equivalent resistance as referred to secondary iii) Equivalent reactance as referred to both primary and secondary iv) Total copper loss, first using individual resistances of the windings and secondly, using equivalent resistances as referred to each side v) Equivalent impedance referred to both sides.					CO2	L4
16	1KT17EE004		A 25KVA single phase transformer has 250 turns on the primary and 40 turns on the secondary winding. The primary is connected to 1500V, 50Hz .Calculate i) Primary and secondary currents on full load ii) Secondary EMF iii) Maximum flux in the core					CO1	L3
17	1KT17EE005		Derive an equation for a single phase transformer .Draw and explain vector diagram of transformer loaded with Inductive and capacitive load.					CO2	L4
18	1KT17EE006		A 25KVA single phase transformer has 250 turns on the primary and 40 turns on the secondary winding. The primary is connected to 1500V, 50Hz .Calculate i) Primary and secondary currents on full load ii) Secondary EMF iii) Maximum flux in the core					CO1	L3

## D2. TEACHING PLAN - 2
### Module – 3
Title:	Divide and Conquer	Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Test on Transformers and connections	CO5	L2
2	Conversion of 3phase to 2 phase	CO6	L3

b	Course Schedule
Class No	Module Content Covered	CO	Level
1	Tertiary winding Transformers	C6
2	Necessity of tertiary winding
3	equivalent circuit and voltage regulation,
4	tertiary winding in star/star transformers
5	rating of tertiary winding. Direct current Generator	C5
6	Armature reaction
7	Commutation and associated problems
8	Synchronous generators: Armature windings, winding factors
9	e.m.f equation
10	Harmonics – causes
11	reduction and elimination
12	Synchronous reactance
13	Armature reaction
14	Equivalent circuit

c	Application Areas	CO	Level
1	Used in industrial applications	CO1	L3
2	Used in Generating,transmission and distribution	CO2	L4

d	Review Questions	-	-
1	What is voltage regulation of a 3 phase synchronous generator? Describe the synchronous impedance method to determine regulation of an alternator for lagging and leading power factor	CO1	L1
2	Draw and explain equivalent circuit of tertiary transformer.	CO1	L3
3	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?	CO2	L2
4	Explain current inrush phenomenon in transformer.	CO2	L4
5	Derive an equation for the emf induced in an alternator.	CO2	L2
6	What is armature reaction? With neat figure explain armature reaction in DC machines under normal working condition.	CO2	L5
7	What are the sources of noise in transformer? How to reduce the noise problem in transformer?	CO2	L2
8	Derive the necessary expression for cross magnetizing effect and de-magnetizing effect.	CO2	L3
9	An 8 pole wave wound dc generator has 840 armature conductors. The armature current is 200A. find the armature reaction demagnetizing and cross magnetizing ampere turns per pole if i) brushes are on G.N.A and ii) brushes are shifted 60 electrical from G.N.A	CO2	L4
10	With neat diagram explain the process of commutation in DC machines.	CO1	L1
11	Draw and explain the characteristics of DC series generator.	CO1	L4
12	State the possible causes of failure of excitation of self excited generator.
e	Experiences	-	-
1		CO1	L2
2
3
4		CO3	L3
5

### Module – 4
Title:		Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Voltage regulation of alternator	CO7	L2
2	Understand different test of transformer	CO8	L3

b	Course Schedule
Class No	Module Content Covered	CO	Level
1	Generator load characteristic
2	Voltage regulation
3	excitation control for constant terminal voltage
4	Generator input and output
5	Performance Analysis
6	Parallel operation of generators and load sharing
7	Synchronous generator on infinite bus-bars – General load diagram Electrical load diagram and V – curves
8	Power angle characteristic and synchronizing power
9	Effects of saliency
10	two-reaction theory
11	Direct and Quadrature reactance
12	power angle diagram
13	reluctance power
14	slip test
15
16

c	Application Areas	CO	Level
1	Used in distribution system	CO8	L3
2	Used in industrial application for sharing	CO7	L4

d	Review Questions	-	-
1	Explain Parallel operation of generators and load sharing	CO7	L1
2	Draw Power angle characteristic of generator and explain	CO7	L3
3	Write short note on Voltage regulation of generator	CO8	L2
4	With a phasor diagram explain the concept the two reaction theory in a salient pole machine	CO7	L4
5	Write short note on V-curves of synchronous generator	CO8	L2
6	With a neat diagram, Explain the slip lest on salient pole synchronous machine	CO8	L5
7	What is synchronization of alternator		L2
8	What are the conditions for proper synchronization of alternator		L3

e	Experiences	-	-
1		CO7	L2
2
3
4		CO8	L3
5

## E2. CIA EXAM – 2
### a. Model Question Paper - 2
Crs Code:		18EE33	Sem:	I	Marks:	30	Time:	75 minutes
Course:		Transformer and Generators
-	-	Note: Answer any 2 questions, each carry equal marks.							Marks	CO	Level
1	a	What is voltage regulation of a 3 phase synchronous generator? Describe the synchronous impedance method to determine regulation of an alternator for lagging and leading power factor							20	CO5	L1
	b	What is armature reaction? With neat figure explain armature reaction in DC machines under normal working condition.									L2
	c	An 8 pole wave wound dc generator has 840 armature conductors. The armature current is 200A. find the armature reaction demagnetizing and cross magnetizing ampere turns per pole if i) brushes are on G.N.A and ii) brushes are shifted 60 electrical from G.N.A								CO6	L3
	d	Derive an equation for the emf induced in an alternator.									L1

2	a	Draw and explain equivalent circuit of tertiary transformer.							20	CO7	L2
	b	Derive the necessary expression for cross magnetizing effect and de-magnetizing effect.									L4
	c	With a phasor diagram explain the concept the two reaction theory in a salient pole machine									L3
	d	Explain Parallel operation of generators and load sharing									L2

3	a	What is synchronization of alternator							20	CO8	L1
	b	What are the conditions for proper synchronization of alternator								CO8	L2
	c	What are the sources of noise in transformer? How to reduce the noise problem in transformer?									L1
	d	Derive the necessary expression for cross magnetizing effect and de-magnetizing effect.									L2

4	a	What are the conditions for proper synchronization of alternator							20		L2
	b	With neat diagram explain the process of commutation in DC machines.									L2
	c	Draw and explain the characteristics of DC series generator.									L1
	d	State the possible causes of failure of excitation of self excited generator.									L3

### b. Assignment – 2
Note: A distinct assignment to be assigned to each student.
Model Assignment Questions
Crs Code:		18EE33		Sem:	3	Marks:	5 / 10	Time:	90 – 120 minutes
Course:		Transformers and generators
Note: Each student to answer 2-3 assignments. Each assignment carries equal mark.
SNo	USN		Assignment Description					Marks	CO	Level
1	1KT17EE002		What is voltage regulation of a 3 phase synchronous generator? Describe the synchronous impedance method to determine regulation of an alternator for lagging and leading power factor					5	CO8	L2
2	1KT17EE004		Draw and explain equivalent circuit of tertiary transformer.					5	CO9	L3
3	1KT17EE005		Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?					CO10	L4
4	1KT17EE006		Explain current inrush phenomenon in transformer.					5	CO9	L3
5	1KT17EE007		Derive an equation for the emf induced in an alternator.					CO1	L1
6	1KT17EE008		What is armature reaction? With neat figure explain armature reaction in DC machines under normal working condition.					CO1	L3
7	1KT17EE009		What are the sources of noise in transformer? How to reduce the noise problem in transformer?					CO2	L2
8	1KT17EE0010		Derive the necessary expression for cross magnetizing effect and de-magnetizing effect.					CO2	L4
9	1KT17EE011		An 8 pole wave wound dc generator has 840 armature conductors. The armature current is 200A. find the armature reaction demagnetizing and cross magnetizing ampere turns per pole if i) brushes are on G.N.A and ii) brushes are shifted 60 electrical from G.N.A					CO2	L2
10	1KT17EE012		With neat diagram explain the process of commutation in DC machines.					CO2	L5
11	1KT17EE013		Draw and explain the characteristics of DC series generator.					CO2	L2
12	1KT18EE400		Explain Parallel operation of generators and load sharing					CO2	L3
13	1KT17EE401		Draw Power angle characteristic of generator and explain					CO2	L4
14	1KT17EE002		Write short note on Voltage regulation of generator					CO1	L1
15	1KT17EE003		With a phasor diagram explain the concept the two reaction theory in a salient pole machine					CO1	L4
16	1KT17EE004		Write short note on V-curves of synchronous generator
17	1KT17EE005		With a neat diagram, Explain the slip lest on salient pole synchronous machine
18	1KT17EE006		What is synchronization of alternator
19	1KT17EE007		What are the conditions for proper synchronization of alternator

## D3. TEACHING PLAN - 3
### Module – 5
Title:	Synchronous generator	Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	The operation and characteristics of generator	CO9	L2
2	Understand different test conducted on synchronous generator	CO10	L3

b	Course Schedule
Class No	Module Content Covered	CO	Level
1	Open circuit and short circuit characteristics
2	Assessment of reactance- short circuit ratio
3	synchronous reactance
4	adjusted synchronous reactance and Potier reactance
5	Voltage regulation by EMF
6	MMF, ZPF methods
7	Performance of synchronous generators
8	Capability curve for large turbo generators and salient pole generators
9	Starting
10	synchronizing and control
11	Hunting and dampers

c	Application Areas	CO	Level
1	Used in generating station	CO10	L3
2	Used in industries	CO9	L4

d	Review Questions	-	-
1	Wright short note on capability of synchronous generator	CO10	L1
2	What is hunting in synchronous generator	CO10	L3
3	Explain role of damping winding	CO9	L2
4	With neat sketch explain OCC and SCC characteristics of synchronous generator	CO9	L4
5	Differentiate between synchronous reactance, adjusted synchronous reactance and Potier reactance		L2
6	List the advantages and disadvantages of synchronous impedance of computing the regulation		L5
7	Define short circuit ratio		L2
8	What is the relation between short circuit ratio and synchronous reactance		L3
9	Name the various method for determining of voltage regulation for 3 phase alternator and describe any one method in detail		L4
10	A 2300V,50Hz 3 phase star connected alternator has an effective armature resistance 0.2ohm a field current of 35A is produced a current of 150A on short circuit and open circuit emf 780V(line) calculate the voltage regulation of 0.8 pf lagging for the full load current of 25A		L1

e	Experiences	-	-
1		CO10	L2
2
3
4		CO9	L3
5

## E3. CIA EXAM – 3
### a. Model Question Paper - 3
Crs Code:		18EE33	Sem:	3	Marks:	30	Time:	75 minutes
Course:		Transformer and generators
-	-	Note: Answer any 2 questions, each carry equal marks.							Marks	CO	Level
1	a	Wright short note on capability of synchronous generator							20	CO9	L1
	b	What is hunting in synchronous generator									L2
	c	Explain role of damping winding								CO9	L3
	d	With neat sketch explain OCC and SCC characteristics of synchronous generator									L1
		Differentiate between synchronous reactance, adjusted synchronous reactance and Potier reactance
2	a	List the advantages and disadvantages of synchronous impedance of computing the regulation							20	CO10	L2
	b	Define short circuit ratio									L4
	c	What is the relation between short circuit ratio and synchronous reactance									L3
	d	Name the various method for determining of voltage regulation for 3 phase alternator and describe any one method in detail									L2
		A 2300V,50Hz 3 phase star connected alternator has an effective armature resistance 0.2ohm a field current of 35A is produced a current of 150A on short circuit and open circuit emf 780V(line) calculate the voltage regulation of 0.8 pf lagging for the full load current of 25A
3	a	Draw and explain the characteristics of DC series generator.							20	CO10	L1
	b	Explain Parallel operation of generators and load sharing								CO10	L2
	c	Draw Power angle characteristic of generator and explain									L1
	d	Write short note on Voltage regulation of generator									L2
		With a phasor diagram explain the concept the two reaction theory in a salient pole machine
4	a	Write short note on V-curves of synchronous generator							20		L2
	b	With a neat diagram, Explain the slip lest on salient pole synchronous machine									L2
	c	What is synchronization of alternator									L1
	d	What are the conditions for proper synchronization of alternator									L3

### b. Assignment – 3
Note: A distinct assignment to be assigned to each student.
Model Assignment Questions
Crs Code:		18EE33		Sem:	3	Marks:	5 / 10	Time:	90 – 120 minutes
Course:		Transformer and generators
Note: Each student to answer 2-3 assignments. Each assignment carries equal mark.
SNo	USN		Assignment Description					Marks	CO	Level
1	1KT17EE002		Draw and explain the characteristics of DC series generator.					5	CO9	L2
2	1KT17EE004		Explain Parallel operation of generators and load sharing					5	CO9	L3
3	1KT17EE005		Draw Power angle characteristic of generator and explain					CO10	L4
4	1KT17EE006		Write short note on Voltage regulation of generator					5	CO10	L3
5	1KT17EE007		With a phasor diagram explain the concept the two reaction theory in a salient pole machine					CO1	L1
6	1KT17EE008		Write short note on V-curves of synchronous generator					CO1	L3
7	1KT17EE009		With a neat diagram, Explain the slip lest on salient pole synchronous machine					CO2	L2
8	1KT17EE0010		What is synchronization of alternator					CO2	L4
9	1KT17EE011		What are the conditions for proper synchronization of alternator					CO2	L2
10	1KT17EE012		Wright short note on capability of synchronous generator					CO2	L5
11	1KT17EE013		What is hunting in synchronous generator					CO2	L2
12	1KT18EE400		Explain role of damping winding					CO2	L3
13	1KT17EE401		With neat sketch explain OCC and SCC characteristics of synchronous generator					CO2	L4
14	1KT17EE002		Differentiate between synchronous reactance, adjusted synchronous reactance and Potier reactance					CO1	L1
15	1KT17EE003		List the advantages and disadvantages of synchronous impedance of computing the regulation					CO1	L4
16	1KT17EE004		Define short circuit ratio					CO1	L1
17	1KT17EE005		What is the relation between short circuit ratio and synchronous reactance					CO1	L3
18	1KT17EE006		Name the various method for determining of voltage regulation for 3 phase alternator and describe any one method in detail					CO2	L2
19	1KT17EE007		A 2300V,50Hz 3 phase star connected alternator has an effective armature resistance 0.2ohm a field current of 35A is produced a current of 150A on short circuit and open circuit emf 780V(line) calculate the voltage regulation of 0.8 pf lagging for the full load current of 25A					CO2	L4
20	1KT17EE002		Wright short note on capability of synchronous generator					CO3	L2
21	1KT17EE004		What is hunting in synchronous generator					CO4	L5
22	1KT17EE005		Explain role of damping winding					CO3	L2
23	1KT17EE006		With neat sketch explain OCC and SCC characteristics of synchronous generator					CO2	L3
24	1KT17EE007		Differentiate between synchronous reactance, adjusted synchronous reactance and Potier reactance					CO4	L4
25	1KT17EE008		List the advantages and disadvantages of synchronous impedance of computing the regulation					CO3	L1
26	1KT17EE009		Define short circuit ratio					CO4	L4
27	1KT17EE0010		What is the relation between short circuit ratio and synchronous reactance					CO2	L3
28	1KT17EE011		Name the various method for determining of voltage regulation for 3 phase alternator and describe any one method in detail					CO4	L4
29	1KT17EE012		A 2300V,50Hz 3 phase star connected alternator has an effective armature resistance 0.2ohm a field current of 35A is produced a current of 150A on short circuit and open circuit emf 780V(line) calculate the voltage regulation of 0.8 pf lagging for the full load current of 25A					CO3	L1
30	1KT17EE013		Wright short note on capability of synchronous generator					CO4	L4
31	1KT18EE400		What is hunting in synchronous generator

## F. EXAM PREPARATION
### 1. University Model Question Paper
Course:		Transformer and generators					Month / Year		01/08/19
Crs Code:		18EE33	Sem:	3	Marks:	100	Time:		180 minutes
-	Note	Answer all FIVE full questions. All questions carry equal marks.						Marks	CO	Level
1	a	Derive an equation for a single phase transformer.						16 / 20	CO1
	b	Draw and explain vector diagram of transformer loaded with Inductive and capacitive load
	c	Explain open-delta connection with the help of neat diagram. Show that open-delta connection has a KVA rating of 58% of the rating of the normal delta-delta connection.							CO2
	d	Show the terminal connections of a three-phase transformer with phasor diagram and corresponding clock method representation 1)Dd0 2) Yy6 3) Dy1 4) Yd11
		OR
1	a	What are the conditions to operate two transformers in parallel?						16 / 20	CO1
	b	Derive an expression for the copper savings in an autotransformer as compared with 2 winding transformer.							CO2
	c	A 400/100V, 10 KVA, 2 winding transformer is to be employed as an autotransformer to supply a 400volts circuit from 500volts source. When tested as 2 winding transformer at rated load of 0.85 p.f lagging, its efficiency is 97%. Determine its KVA rating and efficiency as an autotransformer
	d	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?

2	a	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?						16 / 20	C03
	b	Explain current inrush phenomenon in transformer.
	c	Derive an equation for the emf induced in an alternator.							CO4
	d	What is armature reaction? With neat figure explain armature reaction in DC machines under normal working condition.
		OR
-	a	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?						16 / 20	CO3
	b	Explain with neat sketch the construction of three phase core type and shell type transformer.							CO4
	c	Derive an equation for a single phase transformer.
	d	Draw and explain vector diagram of transformer loaded with Inductive and capacitive load

3	a	Write a brief note on parallel operation of two-single phase transformers with unequal voltage ratio. Derive the necessary relation.						16 / 20	CO5
	b	List the advantages and disadvantages of an autotransformer
	c	Two 250KVA transformers supplying a network are connected in parallel on both primary and secondary sides. Their voltage ratios are the same. The resistance drops are 1.5% & 0.9% and the reactance drops are 3.33% & 4% respectively. Calculate the KVA loading on each transformer and its power factor when the total load on the transformers is 500KVA & at 0.707 lagging p.f.							CO6
	d	What are the conditions to operate two transformers in parallel?
-	a	Derive an expression for the copper savings in an autotransformer as compared with 2 winding transformer.						16 / 20	CO5
	b	A 400/100V, 10 KVA, 2 winding transformer is to be employed as an autotransformer to supply a 400volts circuit from 500volts source. When tested as 2 winding transformer at rated load of 0.85 p.f lagging, its efficiency is 97%. Determine its KVA rating and efficiency as an autotransformer
	c	Derive an equation for the emf induced in an alternator.							CO6
	d	What is armature reaction? With neat figure explain armature reaction in DC machines under normal working condition.

4	a	Draw and explain the characteristics of DC series generator.						16 / 20	CO7
	b	Explain Parallel operation of generators and load sharing
	c	Draw Power angle characteristic of generator and explain							C08
	d	Write short note on Voltage regulation of generator
		OR
-	a	Wright short note on capability of synchronous generator						16 / 20	CO7
	b	What is hunting in synchronous generator							CO8
	c	Explain role of damping winding
	d	With neat sketch explain OCC and SCC characteristics of synchronous generator
		Differentiate between synchronous reactance, adjusted synchronous reactance and Potier reactance
5	a	List the advantages and disadvantages of synchronous impedance of computing the regulation						16 / 20	CO9
	b	Define short circuit ratio							CO10
	c	What is the relation between short circuit ratio and synchronous reactance
	d	Explain role of damping winding
		OR
	a	Define short circuit ratio						16 / 20	CO9
	b	What is the relation between short circuit ratio and synchronous reactance
	c	Name the various method for determining of voltage regulation for 3 phase alternator and describe any one method in detail							C010
	d	A 2300V,50Hz 3 phase star connected alternator has an effective armature resistance 0.2ohm a field current of 35A is produced a current of 150A on short circuit and open circuit emf 780V(line) calculate the voltage regulation of 0.8 pf lagging for the full load current of 25A

### 2. SEE Important Questions
Course:		Transformer and generators					Month / Year		01/08/19
Crs Code:		18EE33	Sem:	3	Marks:	100	Time:		180 minutes
	Note	Answer all FIVE full questions. All questions carry equal marks.						-	-
Module	Qno.	Important Question						Marks	CO	Year
1	1	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?						16 / 20		2014
	2	Explain with neat sketch the construction of three phase core type and shell type transformer.								2015
	3	Derive an equation for a single phase transformer.								2016
	4	Draw and explain vector diagram of transformer loaded with Inductive and capacitive load								2017
	5	Explain open-delta connection with the help of neat diagram. Show that open-delta connection has a KVA rating of 58% of the rating of the normal delta-delta connection.								2018
		Show the terminal connections of a three-phase transformer with phasor diagram and corresponding clock method representation 1)Dd0 2) Yy6 3) Dy1 4) Yd11
2	1	Draw and explain equivalent circuit of tertiary transformer.						16 / 20		2014
	2	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?								2015
	3	Explain current inrush phenomenon in transformer.								2016
	4	Derive an equation for the emf induced in an alternator.								2017
	5	What is armature reaction? With neat figure explain armature reaction in DC machines under normal working condition.								2018

3	1	Draw and explain equivalent circuit of tertiary transformer.						16 / 20		2014
	2	Explain the reason for tap changing in transformer. State on which winding the taps are provided & why?								2015
	3	Explain current inrush phenomenon in transformer.								2016
	4	Derive an equation for the emf induced in an alternator.								2017
	5	What is armature reaction? With neat figure explain armature reaction in DC machines under normal working condition.								2018
		What are the sources of noise in transformer? How to reduce the noise problem in transformer?
4	1	Explain Parallel operation of generators and load sharing						16 / 20		2014
	2	Draw Power angle characteristic of generator and explain								2015
	3	Write short note on Voltage regulation of generator								2016
	4	With a phasor diagram explain the concept the two reaction theory in a salient pole machine								2017
	5	Write short note on V-curves of synchronous generator								2018

5	1	Wright short note on capability of synchronous generator						16 / 20		2014
	2	What is hunting in synchronous generator								2015
	3	Explain role of damping winding								2016
	4	With neat sketch explain OCC and SCC characteristics of synchronous generator								2017
	5	Differentiate between synchronous reactance, adjusted synchronous reactance and Potier reactance								2018
		List the advantages and disadvantages of synchronous impedance of computing the regulation
		Define short circuit ratio
		What is the relation between short circuit ratio and synchronous reactance