Ref No:

< Sri Krishna Institute of Technology, Bangalore>

COURSE PLAN

Academic Year 2019

Program:	B E – Electrical and Electronics Engineering
Semester :	7
Course Code:	15EE72
Course Title:	POWER SYSTEM PROTECTION
Credit / L-T-P:	4 / 4-0-0
Total Contact Hours:	50
Course Plan Author:	Vinutha S

Academic Evaluation and Monitoring Cell

< Sri Krishna Institute of Technology
#29, Hesaraghatta Main Road
Chimney Hills, Chikkabanavara Post>
<Bangalore– 560090,Katakana, India.>
<Phone / Fax :+91-STD-080 >
<Web: skit.org.in, e-mail: >

Note : Remove “Table of Content” before including in CP Book
        Each Course Plan shall be printed and made into a book with cover page
        Blooms Level in all sections match with A.2, only if you plan to teach / learn at higher levels

## A. COURSE INFORMATION
### 1. Course Overview
Degree:	BE	Program:	EE
Semester:	7	Academic Year:	2019
Course Title:	POWER SYSTEM PROTECTION	Course Code:	15EE72
Credit / L-T-P:	4-0-0	SEE Duration:	180 Minutes
Total Contact Hours:	50 Hours	SEE Marks:	80 Marks
CIA Marks:	20 Marks	Assignment	1 / Module
Course Plan Author	Vinutha S	Sign ..	Dt:
Checked By:		Sign ..	Dt:
CO Targets	CIA Target : ……. %	SEE Target:	……. %

Note: Define CIA and SEE % targets based on previous performance.

### 2. Course Content
Content / Syllabus of the course as prescribed by University or designed by institute. Identify 2 concepts per module as in G.
Module	Content	Teaching Hours	Identified Module Concepts	Blooms Learning Levels
1	Introduction to power system protection: Need for protective schemes, Nature and Cause of Faults, Types of Fault,Effects of Faults, Fault Statistics, Zones of Protection, Primary and Backup Protection, Essential Qualities of Protection,Performance of Protective Relaying, Classification of Protective Relays, Automatic Reclosing, Current Transformers for protection, Voltage Transformers / for Protection. / Relay construction and operating principle: Introduction, Electromechanical Relays, Static Relays Merits and Demerits of Static Relays, Numerical Relays, Comparison between Electromechanical Relays and Numerical Relays. / Overcurrent protection:Over current Protection:Introduction, Time – current Characteristics, Current Setting, Time setting	10	-Protection system / -Characteristics of relay	L3 Applying / L4 Analysis
2	Over current Protective Schemes: Reverse Power or Directional Relay, Protection of Parallel Feeders, Protection of Ring Mains, Earth Fault and Phase / Fault Protection, Combined Earth Fault and Phase Fault Protective Scheme, Phase Fault Protective / Scheme, Directional Earth Fault Relay, Static Over current Relays, Numerical Over current Relays. / Distance protection:Introduction, Impedance Relay, Reactance Relay, Mho Relay, Angle / Impedance Relay, Effect of Arc Resistance on the Performance of Distance Relays, Reach of Distance Relays. Effect of Power Surges(Power Swings) on Performance of Distance Relays, Effect of Line Length and Source Impedance on Performance of Distance Relays	10	-Types of fault / -Parameters Relay	L4 Analysis / L4 Analysis
3	Pilot relaing scheme:Introduction, Wire Pilot Protection, Carrier Current Protection / Differential Protection: Introduction, Differential Relays, Simple Differential Protection, Percentage or Biased Differential Relay, Differential Protection of 3 Phase Circuits, Balanced (Opposed) Voltage Differential Protection. / Rotating machine protection:Introduction, Protection of Generators. / Transformer and Bus-zone Protection: Frame Leakage Protection	10	-Change in parameter operation / -Internal faults protection	Analyzing L4, / Analyzing L4
4	Circuit breakers:Introduction, Fault Clearing Time of a Circuit Breaker, Arc Voltage, Arc / Interruption, Restriking Voltage and Recovery Voltage, Current Chopping, Interruption of Capacitive Current / Classification of Circuit Breakers, Air – Break Circuit Breakers, Oil Circuit Breakers, Air – / Blast Circuit Breakers, SF 6 Circuit Breakers, Vacuum Circuit Breakers, High Voltage Direct Current Circuit Breakers, Rating of Circuit Breakers, Testing of Circuit Breakers	10	Characteristics of circuit breaker / Arc quenching medium	UnderstandingL2, / Analyzing L4
5	Fuses:Introductions, Definitions, Fuse Characteristics, Types of Fuses, Applications of HRC Fuses, Selection of Fuses, Discrimination. / Protectiion against over voltage:Causes of Over voltages, Lightning phenomena, Wave Shape of Voltage due to Lightning, Over Voltage due to Lightning, Klydonograph and Magnetic Link, Protection of Transmission Lines against Direct Lightning Strokes, Protection of Stations and Sub – Stations from Direct Strokes, Protection against Traveling Waves, Insulation Coordination, Basic Impulse Insulation Level	10	Characteristics of fuse / Protection against Over voltages	Analyzing L4, / Analyzing L4
-	Total	50	-	-

### 3. Course Material
Books & other material as recommended by university (A, B) and additional resources used by course teacher (C).
1. Understanding: Concept simulation / video ; one per concept ; to understand the concepts ; 15 – 30 minutes
2. Design: Simulation and design tools used – software tools used ; Free / open source
3. Research: Recent developments on the concepts – publications in journals; conferences etc.
Modules	Details	Chapters in book	Availability
A	Text books (Title, Authors, Edition, Publisher, Year.)	-	-
1, 2, 3, 4, 5	Bhadri Ram,D N Vishwakarma		In Lib
	BhuvaneshOza et al

B	Reference books (Title, Authors, Edition, Publisher, Year.)	-	-
	Protection and switchgear by bhavesh et al, oxford,1st edition,2011
	Power system switchgear and protection,N Veerappan

C	Concept Videos or Simulation for Understanding	-	-
C1	https://www.youtube.com/watch?v=uy9lZCdkQIM / Lecture Series on Power System Generation, Transmission and Distribution
C2	https://www.youtube.com/watch?v=gd1nruo4_iA / Insulators for Overhead Lines
C3	https://www.youtube.com/watch?v=lr1jgbR5ca8 / https://www.youtube.com/watch?v=dhmYOIBcwOU / Transmission Line parameters
C4	https://www.youtube.com/watch?v=lr1jgbR5ca8 / https://www.youtube.com/watch?v=dhmYOIBcwOU / Transmission Line parameters
C5	https://nptel.ac.in/courses/108102047/12 / Performance of transmission lines
C6	https://nptel.ac.in/courses/108102047/12 / Performance of transmission lines
C7	https://nptel.ac.in/courses/108105104/21 / Disruptive critical voltage for single and three phase transmission lines, Formula for disruptive critical voltage, Visual critical voltage
C8	https://nptel.ac.in/courses/108102047/18 / Underground cable
C9	https://www.youtube.com/watch?v=_iz8ZkjD7z8 / Distribution Systems
C10	https://nptel.ac.in/courses/108107112/3 / Distribution Systems

D	Software Tools for Design	-	-

1	Auto CAD

E	Recent Developments for Research	-	-

	https://ieeexplore.ieee.org/document/7836860

F	Others (Web, Video, Simulation, Notes etc.)	-	-
1
?

### 4. Course Prerequisites
Refer to GL01. If prerequisites are not taught earlier, GAP in curriculum needs to be addressed. Include in Remarks and implement in B.5.
Students must have learnt the following Courses / Topics with described Content . . .
Modules	Course Code	Course Name	Topic / Description	Sem	Remarks	Blooms Level
1	17EE43	Power Generation and Economics	To understand the concepts of various methods of generation of power	4		L2

### 5. Content for Placement, Profession, HE and GATE
The content is not included in this course, but required to meet industry & profession requirements and help students for Placement, GATE, Higher Education, Entrepreneurship, etc. Identifying Area / Content requires experts consultation in the area.
Topics included are like, a. Advanced Topics, b. Recent Developments, c. Certificate Courses, d. Course Projects, e. New Software Tools, f. GATE Topics, g. NPTEL Videos, h. Swayam videos etc.
Modules	Topic / Description	Area	Remarks	Blooms Level
1	Load Forecasting / Grounding / Types of Transmission and Distribution Systems / Testing of insulators	Advanced Topics		L3,L4
3	Characteristics of Transmission Line Methods of voltage Control	Advanced Topics		L3,L4
5	Electrical Distribution system analysis	Certificate Courses		L3,L4

## B. OBE PARAMETERS
### 1. Course Outcomes
Expected learning outcomes of the course, which will be mapped to POs. Identify a max of 2 Concepts per Module. Write 1 CO per Concept.
Modules	Course Code.#	Course Outcome / At the end of the course, student should be able to . . .	Teach. Hours	Concept	Instr Method	Assessment Method	Blooms’ Level
1	CO1	Understand of Protection zones for power system using relays	5	Protection system	Lecture	Assignment and Unit test	L2 / Understand / L3 Applying
1	CO2	Analysis of relay, types of relay and operation of relay	5	Characteristics of relay	Lecture	Assignment and Unit test	L2 Understand,L3 Applying, L4 Analysis
2	CO3	Analysis of Power flow in relay change in current	5	Types of fault	Lecture	Assignment and Unit test	L3 Applying,L4 Analysis
2	CO4	Analysis the performance of relay change in voltage	5	Parameters Relay	Lecture	Assignment and Unit test	L3 Applying ,L4 Analysis
3	CO5	Applying relay protection for transmission line static switches and contractors used	5	Change in parameter operation	Lecture	Assignment and Unit test	L3 Applying ,L4 Analysis
3	CO6	Analysis Protection for static and rotating machine combination of relays	5	Internal faults protection	Lecture	Assignment and Unit test	L2 Understanding ,L3 Applying,L4 Analysis
4	CO7	Understand Circuit breaker, Performance of CB change in current and voltage	5	Characteristics of circuit breaker	Lecture	Assignment and Unit test	L2 Understanding ,L3 Applying,L4 Analysis
4	CO8	Analysis of CB, medium used for arc extinguish using liquid and gas	5	Arc quenching medium		Assignment and Unit test	L2 Understanding,L3 Applying ,L4 Analysis
5	CO9	Analysis of Protection from short circuit current time-current characteristics of fuse	5	Characteristics of fuse		Assignment and Unit test	L2 Understanding,L3 Applying ,L4 Analysis L5 Evaluating
5	CO10	Analysis over voltage occurs and relays used to protect from over voltage	5	Protection against Over voltages		Assignment and Unit test	L2 Understanding L3 Applying ,L4 Analysis L5 Evaluating
-	-	Total	50	-	-	-	-

### 2. Course Applications
Write 1 or 2 applications per CO.
Students should be able to employ / apply the course learnings to . . .
Modules	Application Area / Compiled from Module Applications.	CO	Level
1	Hydro power plant generating station	CO1	L2
1	Industries such as textile mill paper mill steel industry	CO2	L3
2	Nuclear Power plant Generating station	CO3	L3
2	Wind mill Power Plants	CO4	L4
3	Receiving and substation in power system	CO5	L4
3	Thermal Generating Power station	CO6	L3
4	Renewable power stations such as solar generating station	CO7	L3
4	Domestic purpose and Irrigation pump sets	CO8	L4
5	Distribution of Power system	CO9	L3
5	Bio-gas Power Plants	CO10	L4

### 3. Mapping And Justification
CO – PO Mapping with mapping Level along with justification for each CO-PO pair.
To attain competency required (as defined in POs) in a specified area and the knowledge & ability required to accomplish it.
Modules	Mapping		Mapping Level	Justification for each CO-PO pair	Level
-	CO	PO	-	‘Area’: ‘Competency’ and ‘Knowledge’ for specified ‘Accomplishment’	-
1	CO1	PO1	2.2	Knowledge on the power system	L2
1	CO1	PO2	2.2	Analyze the advantages of high voltage transmission HVAC, EHVAC, UHVAC and HVDC.	L3
1	CO2	PO1	2.2	Knowledge on the power system, overhead transmission lines, supporting structures used for overhead transmission lines.	L2
1	CO2	PO2	2.2	Analyze the different types of structures used for supporting overhead lines and types of conductors used overhead transmission and distribution. / Analyzing the sag calculations when supports are at same and different level and the performance of transmission line when effected by atmospheric conditions. / Analyzing different types of insulators classified based on their operating voltage levels and application.	L3
1	CO2	PO3	1.75	Design insulators for a given voltage level.	L6
2	CO3	PO1	2.2	Knowledge on transmission lines.	L2
2	CO3	PO2	2.2	Calculate and analyze the parameters of the transmission line for different configurations.	L3
2	CO4	PO1	2.2	Knowledge on transmission lines.	L2
2	CO4	PO2	2.2	Calculate and analyze the parameters of the transmission line for different configurations.	L3
3	CO5	PO1	2.2	Knowledge on transmission lines parameters.	L2
3	CO5	PO2	2.2	Analyzing the classification of overhead transmission lines and identifying the different terms related to analyze the performance of transmission line	L3
3	CO5	PO3	1.75	Develop a circuit model for short medium and long transmission lines to access the performance of lines.	L6
3	CO6	PO1	2.2	Knowledge on transmission lines parameters.	L2
3	CO6	PO2	2.2	Identifying the different terms related to analyze the performance of transmission line	L3
3	CO6	PO3	1.75	Develop a circuit model for short medium and long transmission lines to access the performance of lines.	L6
4	CO7	PO1	2.2	Knowledge on ionization.	L2
4	CO7	PO2	2.2	Analyzing the phenomenon of corona, important terms used in analysis of corona effects and advantages and disadvantages for designing transmission system.	L3
4	CO8	PO1	2.2	Knowledge on underground cables.	L2
4	CO8	PO2	2.2	Analyzing the necessary requirements for selection of cables , constructional features of underground cable construction and identifying the types of cables.	L3
5	CO9	PO1	2.2	Knowledge on the power system	L2
5	CO9	PO2	2.2	Analyzing about the main components of the distribution network and types of distribution systems.	L3
5	CO10	PO1	2.2	Knowledge on the Distribution systems	L2
5	CO10	PO2	2.2	Identifying the types of distribution systems and analyzing the power quality problems.	L3

### 4. Articulation Matrix
CO – PO Mapping with mapping level for each CO-PO pair, with course average attainment.
-	-	Course Outcomes	Program Outcomes					-
Modules	CO.#	At the end of the course student should be able to . . .	PO1	PO2	PO3	PO4	PO5	PO6	PO7	PO8	PO9	PO10	PO11	PO12	PSO1	PSO2	PSO3	Level
1	15EE72.1	Understand of Protection zones for power system using relays	X	X	X					L2
1	15EE72.2	Analysis of relay, types of relay and operation of relay		X	X					L2
2	15EE72.3	Analysis of Power flow in relay change in current	X		X		X					L2
2	15EE72.4	Analysis the performance of relay change in voltage		X	X		X					L3
3	15EE72.5	Applying relay protection for transmission line static switches and contractors used	X			X		X					L2
3	15EE72.6	Analysis Protection for static and rotating machine combination of relays					X					L2
4	15EE72.7	Understand Circuit breaker, Performance of CB change in current and voltage			X	X			X					L3
4	15EE72.8	Analysis of CB, medium used for arc extinguish using liquid and gas			X		X		X		X					L2
5	15EE72.9	Analysis of Protection from short circuit current time-current characteristics of fuse	X		X					X			X	X				L2
5	15EE72.10	Analysis over voltage occurs and relays used to protect from over voltage	X	X			X				X		X
-	15EE81	Average attainment (1, 2, or 3)					-
-	PO, PSO	1.Engineering Knowledge; 2.Problem Analysis; 3.Design / Development of Solutions; 4.Conduct Investigations of Complex Problems; 5.Modern Tool Usage; 6.The Engineer and Society; 7.Environment and Sustainability; 8.Ethics; 9.Individual and Teamwork; 10.Communication; 11.Project Management and Finance; 12.Life-long Learning; S1.Software Engineering; S2.Data Base Management; S3.Web Design

### 5. Curricular Gap and Content
Topics & contents not covered (from A.4), but essential for the course to address POs and PSOs.
Modules	Gap Topic	Actions Planned	Schedule Planned	Resources Person	PO Mapping
1
2
3
4
5

### 6. Content Beyond Syllabus
Topics & contents required (from A.5) not addressed, but help students for Placement, GATE, Higher Education, Entrepreneurship, etc.
Modules	Gap Topic	Area	Actions Planned	Schedule Planned	Resources Person	PO Mapping

## C. COURSE ASSESSMENT
### 1. Course Coverage
Assessment of learning outcomes for Internal and end semester evaluation. Distinct assignment for each student. 1 Assignment per chapter per student. 1 seminar per test per student.
Modules	Title	Teach. Hours	No. of question in Exam					CO	Levels
			CIA-1	CIA-2	CIA-3	Asg	Extra Asg	SEE
1	Introduction to power system / Overhead transmission Lines / Overhead line insulators	14	2	-	-	1	1	2	CO1, CO2	L2, L2
2	Line parameters	11	2	-	-	1	1	2	CO3,CO4	L3,L3
3	Performance of transmission lines	12	-	2	-	1	1	2	CO5,CO6	L4,L4
4	Corona / Underground cable	12	-	2	-	1	1	2	CO7, CO8	L2 / L4
5	Distribution / Reliability and Quality of Distribution system	11	-	-	4	1	1	2	C09, CO10	L4,L2
-	Total	60	4	4	4	5	5	10	-	-

### 2. Continuous Internal Assessment (CIA)
Assessment of learning outcomes for Internal exams. Blooms Level in last column shall match with A.2.
Modules	Evaluation	Weightage in Marks	CO	Levels
1, 2	CIA Exam – 1	30	CO1, CO2, CO3, CO4	L2, L2, L3,L3
3, 4	CIA Exam – 2	30	CO5, CO6, CO7, C08	L4,L4,L2,L4
5	CIA Exam – 3	30	C09, CO10	L4,L2

1, 2	Assignment - 1	10	CO1, CO2, CO3, CO4	L2, L2, L3,L3
3, 4	Assignment - 2	10	CO5, CO6, CO7, C08	L4,L4,L2,L4
5	Assignment - 3	10	C09, CO10	L4,L2

1, 2	Seminar - 1		-	-
3, 4	Seminar - 2		-	-
5	Seminar - 3		-	-

1, 2	Quiz - 1		-	-
3, 4	Quiz - 2		-	-
5	Quiz - 3		-	-

1 - 5	Other Activities – Mini Project	-
	Final CIA Marks	40	-

## D1. TEACHING PLAN - 1
### Module - 1
Title:	Divide and Conquer	Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Evaluate time and space complexity and calculate performance	CO1	L2
2	Understand searching and sorting schemes	CO2	L3

b	Course Schedule	-	-
Class No	Module Content Covered	CO	Level
1	Introduction to relay circuit breaker,Protection system faults different faults	C01	L2
2	Zones of Protection Primary and back up protection
3	Essential quantities of protection
4	Performance of protective relaying
5	Classification of Protective relay
6	Automatic closing
7	Current Transformers for protection
8	Voltage transformer Protection
9	Comparison of numerical and statical relay
10	Nature and cause of faults
11	Types of faults
12	Time current characteristics of relay

c	Application Areas	CO	Level
1	Use to Protect electrical equipments from faults	CO1	L3
2	Protection zones scheme	CO2	L4

d	Review Questions	-	-
1	State and Explain fuse Law	CO1	L1
2	Explain fuse Time-Current characteristics	CO1	L3
3	Draw and explain a line diagram of substation with use of isolating switches	CO2	L2
4	What are the essential qualities of relay	CO2	L4
5	Explain with neat diagram of primary and back up protection	CO2	L2
6	Explain with neat diagram of Protection zones	CO2	L5
7	Define Electromechanical relay and static relay	CO2	L2
8	Write merits and demerits of static and numerical relay	CO2	L3
9	Mention some difference between static and numerical relay	CO2	L4
10	What are the Protection for current and voltage transformer	CO1	L1

e	Experiences	-	-

### Module – 2
Title:	Divide and Conquer	Appr Time:	10 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Explain the constructional and working of distance relay,differential relay	CO3	L3
2	Explain the principle of circuit interruption in different types of circuit breaker	CO4	L4

b	Course Schedule	-	-
Class No	Module Content Covered	CO	Level
17	Over current Protective schemes
18	Reverse Power or directional relay Protection of parallel feeders
19	Protection of ring mains earth fault and phase fault protection scheme
20	Combined Earth Fault and Phase Fault Protective Scheme
21	Directional earth fault relay static over-current relays
22	Distance protection impedance relay reactance relay
23	Mho relay angle impedance relay
24	Effect of arc resistance on the performance of distance relay
25	Effect of power surges on performance of distance relay
26	Effect of line length and source impedance on performance of distance relay

c	Application Areas	CO	Level
1	Used in Generation transmission and distribution	CO1	L3
2	Used in various industries and Domestic Purposes	CO3	L4

d	Review Questions	-	-
11	Explain with neat sketch of directional earth fault relay	CO3	L1
12	With neat sketch explain static relays	CO4	L3
13	What are the protection scheme for earth and phase fault	CO3	L2
14	With neat sketch explain Impedance relay	CO4	L4
15	Explain the construction and working of mho relay	CO4	L2
17	Explain arc resistance on the performance of distance relay	CO3	L5
		CO3	L2
		CO3	L3

e	Experiences	-	-

## E1. CIA EXAM – 1
### a. Model Question Paper - 1
Crs Code:		15EE72	Sem:	7	Marks:	30	Time:	75 minutes
Course:		Power syatem Protectiion
-	-	Note: Answer any 3 questions, each carry equal marks.							Marks	CO	Level
1	a	State and Explain fuse Law							20	CO1	L1
	b	Explain fuse Time-Current characteristics									L2
	c	Draw and explain a line diagram of substation with use of isolating switches								CO2	L3
	d	What are the essential qualities of relay									L1

2	a	Explain with neat diagram of primary and back up protection							20		L2
	b	Explain with neat diagram of Protection zones									L4
	c	Define Electromechanical relay and static relay									L3
	d	Write merits and demerits of static and numerical relay									L2

3	a	Write merits and demerits of static and numerical relay							20	CO3	L1
	b	Mention some difference between static and numerical relay								CO4	L2
	c	What are the Protection for current and voltage transformer									L1
	d	Explain with neat sketch of directional earth fault relay									L2

4	a	What are the protection scheme for earth and phase fault							20		L2
	b	With neat sketch explain Impedance relay									L2
	c	Explain arc resistance on the performance of distance relay									L1

### b. Assignment -1
Note: A distinct assignment to be assigned to each student.
Model Assignment Questions
Crs Code:		15ee72		Sem:	7	Marks:	5 / 10	Time:	90 – 120 minutes
Course:		Power system protection
Note: Each student to answer 2-3 assignments. Each assignment carries equal mark.
SNo	USN		Assignment Description					Marks	CO	Level
1	1KT15EE001		State and Explain fuse Law					5	CO1	L2
2	1KT15EE002		Explain fuse Time-Current characteristics					5	CO2	L3
3	1KT15EE003		Draw and explain a line diagram of substation with use of isolating switches					CO2	L4
4	1KT15EE004		What are the essential qualities of relay					5	CO1	L3
5	1KT15EE005		Explain with neat diagram of primary and back up protection
6	1KT15EE006		Explain with neat diagram of Protection zones
7	1KT15EE007		Define Electromechanical relay and static relay
8	1KT15EE008		Write merits and demerits of static and numerical relay
9	1KT15EE009		Mention some difference between static and numerical relay
10	1KT15EE010		What are the Protection for current and voltage transformer
11	1KT15EE011		Over current Protective schemes
12	1KT15EE012		Reverse Power or directional relay Protection of parallel feeders
13	1KT16EE400		Protection of ring mains earth fault and phase fault protection scheme
14	1KT16EE401		Combined Earth Fault and Phase Fault Protective Scheme
15	1KT15EE001		Directional earth fault relay static over-current relays
16	1KT15EE002		Distance protection impedance relay reactance relay
17	1KT15EE003		Mho relay angle impedance relay
18	1KT15EE004		Effect of arc resistance on the performance of distance relay
19	1KT15EE005		Effect of power surges on performance of distance relay
20	1KT15EE006		Effect of line length and source impedance on performance of distance relay
21	1KT15EE007		Explain with neat sketch of directional earth fault relay
22	1KT15EE008		With neat sketch explain static relays

## D2. TEACHING PLAN - 2
### Module – 3
Title:	Divide and Conquer	Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Evaluate Relay and its performance	CO5	L2
2	Understand searching and sorting schemes	CO6	L3

b	Course Schedule
Class No	Module Content Covered	CO	Level
1	Introduction Differential Relays,	C6
2	Wire Pilot Protection,
3	Carrier Current Protection Differential Protection:
4	Simple Differential Protection, Percentage or Biased Differential Relay
5	Differential Protection of 3 Phase Circuits	C5
6	Balanced (Opposed) Voltage Differential Protection.
7	Introduction, Protection of Generators.
8	Transformer and Bus-zone Protection.
9	Frame Leakage Protection

c	Application Areas	CO	Level
1	Used in industries and generating stations	CO1	L3
2	Used in Power System	CO2	L4

d	Review Questions	-	-
1	Explain Wire pilot protection	CO1	L1
2	Explain Carrier current protection	CO1	L3
3	With neat sketch explain Biased differential relay	CO2	L2
4	Explain differential protection of 3 phase circuits	CO2	L4
5	With neat sketch Balanced voltage differential relay	CO2	L2
6	Explain Buchzz relay for transformer protection	CO2	L5
7	What are the different protection for generator explain	CO2	L2
8	Explain bus zone Protection with neat sketch	CO2	L3
9	Explain frame leakage Protection with neat sketch	CO2	L4

e	Experiences	-	-

### Module – 4
Title:	Divide and Conquer	Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Know the different Protection for generator and transformer	CO7	L2
2	Understand the differential relay for 3 phase protection	CO8	L3

b	Course Schedule
Class No	Module Content Covered	CO	Level
1	Introduction of circuit breakers
2	Fault Clearing Time of a Circuit Breaker
3	Arc Voltage
4	Arc Interruption
5	Restriking Voltage and Recovery Voltage
6	Current Chopping
7	Interruption of Capacitive Current
8	Classification of Circuit Breakers
9	Air – Break Circuit Breakers Air–Blast Circuit Breakers
10	Oil Circuit Breakers
11	SF 6 Circuit Breakers
12	Binary Search
13	High Voltage Direct Current Circuit Breakers
14	Rating of Circuit Breakers
15	Vacuum Circuit Breakers
16	Testing of Circuit Breakers

c	Application Areas	CO	Level
1	Used in Power system	CO8	L3
2	Used in industries and domestic apllications	CO7	L4

d	Review Questions	-	-
1	How interruption of capacitive currents takes place in AC circuit breaker? Explain	CO7	L1
2	With a neat sketch Explain the construction and working of air break circuit breaker	CO7	L3
3	Describe working Principle of SF6 circuit breaker with the help of a neat sketch. Mention the advantages over other type of circuit breaker	CO8	L2
4	Explain the construction and working of a vacuum circuit breaker	CO7	L4
5	Describe I) Unit testing ii) Synthetic testing of circuit breaker	CO8	L2
6	Explain current chopping phenomenon in circuit breaker	CO8	L5
7	Explain various properties of SF6 gas		L2
8	Explain the following tests performed on CB I) substitution test ii) Compensation test iii) Capacitance test		L3
9	Explain the phenomenon of arc and how it is maintained in the CB		L4
10	Explain the arc interruption theories of AC Circuit breaker		L1
11	With a neat diagram explain cross blast and axial blast circuit braker		L4
12	Explain with a neat diagram the construction and working of minimum oil circuit breaker

e	Experiences	-	-

## E2. CIA EXAM – 2
### a. Model Question Paper - 2
Crs Code:		15EE72	Sem:	7	Marks:	30	Time:	75 minutes
Course:		Power system protection
-	-	Note: Answer any 2 questions, each carry equal marks.							Marks	CO	Level
1	a	Explain Wire pilot protection							20	CO5	L1
	b	Explain Carrier current protection									L2
	c	With neat sketch explain Biased differential relay								CO6	L3
	d	Explain differential protection of 3 phase circuits									L1

2	a	With neat sketch Balanced voltage differential relay							20	CO7	L2
	b	Explain Buchzz relay for transformer protection									L4
	c	What are the different protection for generator explain									L3
	d	Explain bus zone Protection with neat sketch									L2

3	a	How interruption of capacitive currents takes place in AC circuit breaker? Explain							20	CO8	L1
	b	With a neat sketch Explain the construction and working of air break circuit breaker								CO8	L2
	c	Describe working Principle of SF6 circuit breaker with the help of a neat sketch. Mention the advantages over other type of circuit breaker									L1
	d	Explain the construction and working of a vacuum circuit breaker									L2

4	a	Explain current chopping phenomenon in circuit breaker							20		L2
	b	Explain various properties of SF6 gas									L2
	c	Explain the following tests performed on CB I) substitution test ii) Compensation test iii) Capacitance test									L1
	d	Explain the phenomenon of arc and how it is maintained in the CB									L3

### b. Assignment – 2
Note: A distinct assignment to be assigned to each student.
Model Assignment Questions
Crs Code:		15EE72		Sem:	7	Marks:	5 / 10	Time:	90 – 120 minutes
Course:		Power system protection
Note: Each student to answer 2-3 assignments. Each assignment carries equal mark.
SNo	USN		Assignment Description					Marks	CO	Level
1	1KT15EE001		Explain current chopping phenomenon in circuit breaker					5	CO8	L2
2	1KT15EE002		Explain various properties of SF6 gas					5	CO9	L3
3	1KT15EE003		Explain the following tests performed on CB I) substitution test ii) Compensation test iii) Capacitance test					CO10	L4
4	1KT15EE004		Explain the phenomenon of arc and how it is maintained in the CB					5	CO9	L3
5	1KT15EE005		Explain Wire pilot protection
6	1KT15EE006		Explain Carrier current protection
7	1KT15EE007		With neat sketch explain Biased differential relay
8	1KT15EE008		Explain differential protection of 3 phase circuits
9	1KT15EE009		With neat sketch Balanced voltage differential relay
10	1KT15EE010		Explain Buchzz relay for transformer protection
11	1KT15EE011		How interruption of capacitive currents takes place in AC circuit breaker? Explain
12	1KT15EE012		With a neat sketch Explain the construction and working of air break circuit breaker
13	1KT16EE400		Describe working Principle of SF6 circuit breaker with the help of a neat sketch. Mention the advantages over other type of circuit breaker
14	1KT16EE401		Explain the construction and working of a vacuum circuit breaker
15	1KT15EE001		With neat sketch Balanced voltage differential relay
16	1KT15EE002		Explain Buchzz relay for transformer protection
17	1KT15EE003		What are the different protection for generator explain
18	1KT15EE004		Explain bus zone Protection with neat sketch
19	1KT15EE005		Explain frame leakage Protection with neat sketch

## D3. TEACHING PLAN - 3
### Module – 5
Title:	Divide and Conquer	Appr Time:	16 Hrs
a	Course Outcomes	-	Blooms
-	The student should be able to:	-	Level
1	Understand the fuse and its characteristics	O9	L2
2	Understand the phenomena of lighting and over voltage occurs	CO10	L3

b	Course Schedule
Class No	Module Content Covered	CO	Level
1	Introductions		L3
2	Definitions, Fuse Characteristics		L3
3	Types of Fuses, Applications of HRC Fuses		L4
4	Selection of Fuses		L3
5	Causes of Over voltages		L5
6	Lightning phenomena		L4
7	Wave Shape of Voltage due to Lightning		L4
8	Over Voltage due to Lightning, Klydonograph and Magnetic Link		L3
9	Protection of Transmission Lines against Direct Lightning Strokes		L4
10	Protection against Traveling Waves		L3
11	Insulation Coordination,		L4
12	Basic Impulse Insulation Level		L5

c	Application Areas	CO	Level
1	Use to protect from high voltages	CO10	L3
2	Used in power system to protect equipments from high voltages	CO9	L4

d	Review Questions	-	-
1	What is fuse	CO10	L1
2	What are different types of fuse	CO10	L3
3	Explain the construction and working of HRC fuse	CO9	L2
4	What are the causes of over voltages.	CO9	L4
5	Explain lighting phenomena		L2
6	Explain Protection of transmission lines against direct lighting strokes		L5
7	Explain protection of stations and sub station from direct strokes		L2
8	Mention some basic impulse insulation level		L3
9	Explain the protection against traveling waves		L4

e	Experiences	-	-

## E3. CIA EXAM – 3
### a. Model Question Paper - 3
Crs Code:		15EE72	Sem:	7	Marks:	30	Time:	75 minutes
Course:		Power system protection
-	-	Note: Answer any 2 questions, each carry equal marks.							Marks	CO	Level
1	a	With neat sketch Balanced voltage differential relay							20	CO9	L1
	b	Explain Buchzz relay for transformer protection									L2
	c	What are the different protection for generator explain								CO9	L3
	d	Explain bus zone Protection with neat sketch									L1
		Explain frame leakage Protection with neat sketch
2	a	What is fuse							20	CO10	L2
	b	What are different types of fuse									L4
	c	Explain the construction and working of HRC fuse									L3
	d	What are the causes of over voltages.									L2

3	a	Explain lighting phenomena							20	CO10	L1
	b	Explain Protection of transmission lines against direct lighting strokes								CO10	L2
	c	Explain protection of stations and sub station from direct strokes									L1
	d	Mention some basic impulse insulation level									L2

4	a	Explain Buchzz relay for transformer protection							20		L2
	b	How interruption of capacitive currents takes place in AC circuit breaker? Explain									L2
	c	With a neat sketch Explain the construction and working of air break circuit breaker									L1
	d	Describe working Principle of SF6 circuit breaker with the help of a neat sketch. Mention the advantages over other type of circuit breaker									L3

### b. Assignment – 3
Note: A distinct assignment to be assigned to each student.
Model Assignment Questions
Crs Code:		15EE72		Sem:	7	Marks:	5 / 10	Time:	90 – 120 minutes
Course:		Power system protection
Note: Each student to answer 2-3 assignments. Each assignment carries equal mark.
SNo	USN		Assignment Description					Marks	CO	Level
1	1KT15EE001		What is fuse					5	CO9	L2
2	1KT15EE002		What are different types of fuse					5	CO9	L3
3	1KT15EE003		Explain the construction and working of HRC fuse					CO10	L4
4	1KT15EE004		What are the causes of over voltages.					5	CO10	L3
5	1KT15EE005		Explain lighting phenomena
6	1KT15EE006		Explain Protection of transmission lines against direct lighting strokes
7	1KT15EE007		Explain protection of stations and sub station from direct strokes
8	1KT15EE008		Mention some basic impulse insulation level
9	1KT15EE009		Explain the protection against traveling waves

## F. EXAM PREPARATION
### 1. University Model Question Paper
Course:		Power system protection					Month / Year		May /2018
Crs Code:		15EE72	Sem:	7	Marks:	100	Time:		180 minutes
-	Note	Answer all FIVE full questions. All questions carry equal marks.						Marks	CO	Level
1	a	Draw and explain a line diagram of substation with use of isolating switches						16 / 20	CO1
	b	What are the essential qualities of relay
	c	Explain with neat diagram of primary and back up protection							CO2
	d	Explain with neat diagram of Protection zones
		OR
-	a	Define Electromechanical relay and static relay						16 / 20	CO1
	b	Write merits and demerits of static and numerical relay							CO2
	c	Mention some difference between static and numerical relay
	d	What are the Protection for current and voltage transformer

2	a	What are the essential qualities of relay						16 / 20	C03
	b	Explain with neat diagram of primary and back up protection
	c	Explain with neat diagram of Protection zones							CO4
	d	Define Electromechanical relay and static relay
		OR
-	a	What are the Protection for current and voltage transformer						16 / 20	CO3
	b	Over current Protective schemes							CO4
	c	Reverse Power or directional relay Protection of parallel feeders
	d	Protection of ring mains earth fault and phase fault protection scheme

3	a	Explain Wire pilot protection						16 / 20	CO5
	b	Explain Carrier current protection
	c	With neat sketch explain Biased differential relay							CO6
	d	Explain differential protection of 3 phase circuits
-	a	With neat sketch Balanced voltage differential relay						16 / 20	CO5
	b	Explain Buchzz relay for transformer protection
	c	What are the different protection for generator explain							CO6
	d	Explain bus zone Protection with neat sketch

4	a	How interruption of capacitive currents takes place in AC circuit breaker? Explain						16 / 20	CO7
	b	With a neat sketch Explain the construction and working of air break circuit breaker
	c	Describe working Principle of SF6 circuit breaker with the help of a neat sketch. Mention the advantages over other type of circuit breaker							C08
	d	Explain the construction and working of a vacuum circuit breaker
		OR
-	a	Explain the following tests performed on CB I) substitution test ii) Compensation test iii) Capacitance test						16 / 20	CO7
	b	Explain the phenomenon of arc and how it is maintained in the CB							CO8
	c	Explain the arc interruption theories of AC Circuit breaker
	d	With a neat diagram explain cross blast and axial blast circuit braker
		Explain the following tests performed on CB I) substitution test ii) Compensation test iii) Capacitance test
5	a	Explain the phenomenon of arc and how it is maintained in the CB						16 / 20	CO9
	b	Explain the arc interruption theories of AC Circuit breaker							CO10
	c	With a neat diagram explain cross blast and axial blast circuit braker
	d	Explain the following tests performed on CB I) substitution test ii) Compensation test iii) Capacitance test
		OR
	a	Explain lighting phenomena.						16 / 20	CO9
	b	What are the causes of over voltages.
	c	What are different types of fuse							C010
	d	Explain the construction and working of HRC fuse

### 2. SEE Important Questions
Course:		Power system protection					Month / Year		May /2018
Crs Code:		15EE72	Sem:	7	Marks:	80	Time:		180 minutes
	Note	Answer all FIVE full questions. All questions carry equal marks.						-	-
Module	Qno.	Important Question						Marks	CO	Year
1	1	Draw and explain a line diagram of substation with use of isolating switches						16 / 20		2004
	2	What are the essential qualities of relay								2004
	3	Explain with neat diagram of primary and back up protection								2004
	4	Explain with neat diagram of Protection zones								2007
	5	Define Electromechanical relay and static relay								2007

2	1	What are the essential qualities of relay						16 / 20		2005
	2	Explain with neat diagram of primary and back up protection								2005
	3	Explain with neat diagram of Protection zones								2009
	4	Define Electromechanical relay and static relay								2006
	5	Protection of ring mains earth fault and phase fault protection scheme								2004

3	1	Explain Wire pilot protection						16 / 20		2006
	2	Explain Carrier current protection								2006
	3	With neat sketch explain Biased differential relay								2007
	4	Explain differential protection of 3 phase circuits								2004
	5	With neat sketch Balanced voltage differential relay								2004

4	1	How interruption of capacitive currents takes place in AC circuit breaker? Explain						16 / 20		2004
	2	With a neat sketch Explain the construction and working of air break circuit breaker								2004
	3	Describe working Principle of SF6 circuit breaker with the help of a neat sketch. Mention the advantages over other type of circuit breaker								2006
	4	Explain the construction and working of a vacuum circuit breaker								2004
	5	Explain the following tests performed on CB I) substitution test ii) Compensation test iii) Capacitance test								2007

5	1	What are different types of fuse						16 / 20		2009
	2	Explain the construction and working of HRC fuse								2007
	3	What are the causes of over voltages.								2007
	4	Explain lighting phenomena								2004
	5	Explain Protection of transmission lines against direct lighting strokes								2005